GISMO Pre-Ship Review Outline

Mechanical Description of GISMO

- Overall description of GISMO Assembly

- General description of Main Subassemblies

  - Optical Subassemblies

  - GISMO Slitmask Subassembly

- Description of Physical Properties

  - Mass – 35 lbs.

  - Size

Operational Requirements

- Installing GISMO Slitmask

- Installing GISMO into Slitmask Server

- Electrical Connections

- Storage

Mechanical Pre-Commissioning Tasks

- Test fit GISMO in Slitmask Server

- Insert GISMO into focal plane and measure motion

- Focus tests

- Run Cables and test GISMO slitmask motion stage

Maintenance

- Excessive maintenance isn’t expected and shouldn’t be required

Troubleshooting

- Anticipated problematic issues include:

  - Proper installation of GISMO slitmasks

  - Proper insertion of GISMO in optical path