## IMACS Guide Camera Electronics Parts List

# PURCHASED PARTS LIST (listed by Camera)

| # QTY | # DESCRIPTION | DIMENSIONS / PN |
| --- | --- | --- |
|  | # Center Field Guide Camera |  |
| 1 | MYCOM 5-Phase AM Brake Motor | PS569AM |
| 1 | MYCOM UPS50 Series Driver | UPS50-131 |
| 1 | THK LM Guide Actuator Type KR (1) | KR3306B+600LP 0-2463 |
| 1 | Bimba ISO 6432 Air Cylinder (2) | EDM-10-50-U |
| 1 | Bimba ISO 6432 Air Cylinder (2) | EDM-16-100-U |
|  | # Shack-Hartmann Guide Camera |  |
| 1 | MYCOM 5-Phase AM Brake Motor | PS566AM |
| 1 | MYCOM UPS50 Series Driver | UPS50-031 |
| 1 | MYCOM 5-Phase AM Brake Motor | PS569AM |
| 1 | MYCOM UPS50 Series Driver | UPS50-131 |
| 1 | THK LM Guide Actuator Type KR (3) | KR2602A+150LP 0-0700 |
| 1 | Bimba ISO 6432 Air Cylinder (2) | EM-10-50-U |
| 1 | Bimba ISO 6432 Air Cylinder (2) | EDM-16-100-U |
| 1/1 | Renishaw Encoder | RGH24 D / RGH24 X |
|  | # Principal Guide Camera |  |
| 1 | MYCOM 5-Phase AM Brake Motor | PS569AM |
| 1 | MYCOM UPS50 Series Driver | UPS50-131 |
| 1 | Bimba ISO 6432 Air Cylinder (2) | EM-10-50-U |
| 1 | Renishaw Encoder | RGH24 D |

- includes 2 OMRON Proximity Sensors

- includes 2 Bimba Hall Effect Switches

- includes 2 Yamatake Honeywell Proximity Sensors

# ELECTRONIC DEVICE TOTALS

| # QTY | # DESCRIPTION | DIMENSIONS / PN |
| --- | --- | --- |
| 1 | MYCOM UPS50 Series Driver | UPS50-031 |
| 1 | MYCOM 5-Phase AM Brake Motor | PS566AM |
| 3 | MYCOM UPS50 Series Driver | UPS50-131 |
| 3 | MYCOM 5-Phase AM Brake Motor | PS569AM |
| 2/1 | Renishaw Encoder | RGH24 D / RGH24 X |
| 2 | Omron Proximity Sensor | TL-W3MC1 |
| 2 | Yamatake Honeywell Proximity Sensors | APM-D3 |
| 6/4 | Bimba Hall Effect Switch | HSK M10 / HSK M16 |
| 8 | Honeywell SM Series Switch | 311SM5-T |