## IMACS GUIDE CAMERAS PARTS LIST

# MANUFACTURED PARTS LIST

| # QTY | # PART # | DESCRIPTION |
| --- | --- | --- |
| 4 | 1110001 | Drive Sector End Brackets |
| 1 | 1110002 | Camera Assembly Mounting Plate |
| 2 | 1110003 | Theta Drive Sector Rail |
| 1 | 1110004 | Guide Camera Mounting Base |
| 1 | 1120001 | Camera Support Mounting Plate |
| 2 | 1130001 | Camera Barrel |
| 2 | 1130002 | EF Lens Ring |
| 2 | 1130003 | Field Lens Ring ‘A’ |
| 3 | 1130004 | Mirror Support |
| 2 | 1130005 | Field Lens Ring ‘B’ |
| 1 | 1140001 | Drive Base Mounting Plate |
| 1 | 1210004 | HSR Rail Support |
| 1 | 1210005 | KR Actuator Support |
| 1 | 1210006 | Camera Assembly Mounting Plate |
| --- | 1210007 | Mounting Plate Brace |
| 1 | 1210008 | Guide Camera Mounting Base |
| 1 | 1220003 | Guide Camera Support Bracket ‘A’ |
| 1 | 1220004 | Guide Camera Support Bracket ‘B’ |
| 1 | 1232001 | Shack-Hartmann Barrel |
| 1 | 1232002 | Shack-Hartmann Lenslet Array Ring |
| 1 | 1232003 | Shack-Hartmann Collimator Lens Ring |
| 1 | 1240001 | Drive Base Mounting Plate |
| 2 | 1300001 | Spacer Plate |
| 1 | 1310001 | Camera Base Plate |
| 1 | 1310002 | Camera Support Bracket ‘A’ |
| 1 | 1310003 | Camera Support Bracket ‘B’ |
| 1 | 1310004 | Bracket Support Plate |
| 2 | 1320001 | Guide Camera Support Plate |
| 2 | 1320002 | Camera Support Mounting Plate |
| 3 | 1321001 | Filter Frame |
| 1 | 1331001 | Long Slit Barrel |
| 1 | 1331002 | EF Lens Ring |
| --- | --- | Slit Mask Frame |
| 2 | 1331004 | Slit Mask Support |
| 1 | 1332001 | Shack-Hartmann Barrel |
| 2 | 1332002 | Shack-Hartmann Lenslet Array Ring |
| 1 | 1332003 | Shack-Hartmann Collimator Lens Ring |
| --- | --- | Mirror Base |

# IMACS GUIDE CAMERAS PARTS LIST  (con’t)

# PURCHASED PARTS LIST

| # QTY | # DESCRIPTION | DIMENSIONS |
| --- | --- | --- |