IMACS System Name

General System Overview

General System Description
 - list of subassemblies / subsystems

Description of Mechanism

Assembly 1:

Assembly 2:

Assembly 3:

Important Design Considerations

Issue 1:

Issue 2:

Issue 3:

Set-up Procedures

Initialization Procedures

Normal/Expected Operation

Maintenance Issues

Troubleshooting

Diagnosing and Troubleshooting Error Messages

The recommendation and procedures provided below are not exclusive or exhaustive.

If an error message occurs during operation the recommended diagnostic procedure is as follows:

1. Note and record the last command attempted.
2. Note and record the state of the instrument as reported by the user GUIs and telescope operator.

The next steps require a break in observing but are necessary for proper and full diagnostics.

1. Check the simple things first: has the rack power been lost; has the rack power cycled (if so the rack computer has been reset – as shown on the rack monitor); has the hard-stop logic been tripped; has the instrument air pressure dropped.
2. Remove the panels to investigate the error or failure. Piece the error message and system state together. Look for problem conditions, what happened and why.
3. Contact key IMACS personnel at SBS; Alan Dressler, Tyson Hare, Christoph Birk, or Alan Bagish.

The following is a list error message and what may cause them to be flagged.

Home not found: This message would be reported after an initialization command because the grating isn’t moving. The most probable causes for this problem include: no rack power; the hard limit logic has been tripped; the encoder isn’t operational.