# IMACS: REVISION DOCUMENT (5000rev003.doc)

IMACS CAMERA SHUTTER

| DRAWING #: | 5100000, 5100001, 5100003, 5100004, 5100005 |
| --- | --- |
| REVISION: | See below |
| DATE: | 7/27/00 |
| REVISION BY: | Julie Meyers |
| REVISION DETAILS: |  |
| Dwg 5100000 B | Added updated parts to assembly (items 1, 3 & 4). |
| Dwg 5100001 B | Added step for new spacer bar 5100004. |
| Dwg 5100003 C | Revised design to create long base rail (removed spacer cutouts). |
| Dwg 5100004 C | Revised design to create long spacer bar. |
| Dwg 5100005 B | Revised center hole callout. |