# IMACS: REVISION DOCUMENT (5000rev004.doc)

IMACS CAMERA SHUTTER

| DRAWING #: | 5100000, 5100001, 5100002, 5100003 |
| --- | --- |
| REVISION: | See below |
| DATE: | 2/28/01 |
| REVISION BY: | Tyson Hare |
| REVISION DETAILS: |  |
| DWG 5100000 C | Updated assembly with revised parts. |
| DWG 5100001 C | Added slots for new Delrin rail design. |
| DWG 5100002 C | Added slots for new Delrin rail design. |
| DWG 5100003 D | Revised rail design. New design allows for easier fabrication and assembly of rail components. |