## IMACS CAMERA SHUTTER PARTS LIST

# MANUFACTURED PARTS LIST

| # QTY | # PART # | DESCRIPTION |
| --- | --- | --- |
| 4 | 5000002 A | Motor Mounting Bracket |
| 1 | 5100001 C | Base Plate |
| 1 | 5100002 C | Cover Plate |
| 4 | 5100003 D | Delrin Rail |
| 2 | 5100004 C | Aluminum Spacer |
| 2 | 5100005 B | End Stop |
| 2 | 5200002 A | Blade |
| 1 | 5211001 B | Motor Mounting Block ‘A’ |
| 2 | 5220001 B | Coupling |
| 24 | 5220002 A | Delrin Disk |
| 1 | 5231001 B | Motor Mounting Block ‘B’ |

# PURCHASED PARTS LIST

| # QTY | # DESCRIPTION | DIMENSIONS |
| --- | --- | --- |
| 2 | LinMot Linear Motor | P01-37x120/380x460 |
| 1 | LinMot Motor Controller | E4000-AT |
| 2 | LinMot Linear Motor Mounting Flange | PF01-37x100 |
| 1 | LinMot Switch Mode Power Supply | S01-72/600 |
| 16 | Neodymium Iron Boron Disk Magnets 35DNE1616 | D6.35 x t6.35 |
| 1 | Delrin Rod | D6.35 x L300 |
| 4 | Delrin Rectangular Bar | 6.35 x 12.7 x 850 |
| 4 | Parallel Locating Pins | 5 x 28 |
| 8 | Parallel Locating Pins | 5 x 20 |
| 10 | SBCS | M3 x 8 |
| 4 | SCCS | M5 x 12 |
| 10 | SHCS | M4 x 10 |
| 20 | SHCS | M4 x 25 |
| 36 | SHCS | M5 x 20 |
| 4 | SHCS | M5 x 70 |
| 8 | SHCS | M6 x 20 |
| 2 | Stud | M8 x 20 |
| 8 | T-Slot Nut | M6 x 8 |
| 2 | Threaded Button Rest | M6 x 14 |